## Ark1
Name	Identifier	Type	Default	Command	Description
Sample info
Project	STITLE	String(64)		pars
Collector	SCOLLNAME	String(24)		pars
Description	SDESC1	String(64)		pars
Spekter ref.	SDESC4	String(64)		pars	Genereres av nailab
Sample ID	SIDENT	String(16)		pars
Sample type	STYPE	String(16)		pars
Sample quantity	SQUANT	Decimal		pars
Quantity Uncertainty	SQUANTERR	Decimal		pars
Quantity Units	SUNITS	String(16)		pars
Sample Geometry	SGEOMTRY	String(16)		pars
Buildup type	BUILDUPTYPE	String(DEPOSIT, IRRAD, "")		pars
Reference date / End date	STIME	Date		pars
Start date	SDEPOSIT	Date		pars

Sample info (Advanced)
Random error (%)	SSYSERR	Decimal		pars
Systematic error (%)	SSYSTERR	Decimal		pars
Live time	LIVEPRESET	Integer	Admin	startmca	Gruppe1
Real time	REALPRESET	Integer	Admin	startmca	Gruppe1
Integral preset	INTPRESET	Integer	Admin	startmca /INTPRESET=<value>,<start channel>,<stop channel>	Gruppe2
Area preset	AREAPRESET	Decimal	Admin	startmca /AREAPRESET=<value>,<start channel>,<stop channel>	Gruppe2
Count preset	CNTSPRESET	Integer	Admin	startmca /CNTSPRESET=<value>,<start channel>,<stop channel>	Gruppe2

Peak Locate
Search region	CHANNELS	Integer	Detector	peak_dif /channels=<start channel>,<end channel>	Må bruke 2 felter for denne (start channel ikke mindre enn 1)
Significance threshold	SIGNIF	Decimal	Detector	peak_dif /signif=<value>
Tolerance	FTOL/ETOL	Decimal	Detector	peak_dif /FTOL=<value>

Peak area
Peak area region	CHANNELS	Integer	Detector	area_nl1 /channels=<start channel>,<stop channel>	Må bruke 2 felter. Samme som Nuclide identification channels
Continuum	FCONT	Decimal	Detector	area_nl1 /FCONT=<value>
Continuum function	ROIPSBTYP	String(STEP, LINEAR)	Detector	pars /ROIPSBTYP=<value>
95% critical level test	CRITLEVEL	Boolean	Detector	area_nl1 /critlevel
Use fixed FWHM	FIXFWHM	Boolean	Detector	area_nl1 /fixfwhm
Use fixed tail parameter	FIXTAIL	Boolean	Detector	area_nl1 /fixtail
Fit singlets	FIT	Boolean	Detector	area_nl1 /fit
Display ROIs	DISPLAY_ROIS	Boolean	Detector	area_nl1 /display_rois
Reject zero area peaks	PRREJECT0PKS	0/1	Detector	pars /PRREJECT0PKS=<value>
Max FWHMs between peaks	PRFWHMPKMULT	Decimal	Detector	pars
Max FWHMs for left limit	PRFWHMPKLEFT	Decimal	Detector	pars
Max FWHMs for right limit	PRFWHMPKRGHT	Decimal	Detector	pars

Background subtract
Background subtract	BKGND	String	Detector	areacor /bkgnd=<file.cnf>

Efficiency correction
Efficiency calibration type		String(INTERP, EMP, DUAL, LINEAR)	Detector	effcor

Nuclide identification
NID Library	LIBRARY	String	Admin	nid_intf /LIBRARY=<file.nlb>
Perform MDA test	MDA_TEST	Boolean	Admin	nid_intf /MDA_TEST
Inhibit ATD Correction	NOACQDECAY	Boolean	Admin	nid_intf /NOACQDECAY
Use stored library	PRUSESTRLIB	0/1	Admin	pars /PRUSESTRLIB=0/1	Brukes i reanalysering?
NID confidence threshold	CONFID	Decimal	Admin	nid_intf /CONFID=<value>
NID confidence factor (%)	MDACONFID	Decimal	Admin	pars

Reporting
Template name	TEMPLATE	String	Admin	report /TEMPLATE=<file.tpl>	Legg til /NEWFILE /FIRSTPG /NEWPG /OUTFILE=?
Section name	SECTION	String("", HEADER)	Admin	report /section=""	ALL = "". Settes av nailab
Error multiplier	EM	Decimal	Admin	report /EM=<value>

QA
				qaxfer <file.qaf>	Filnavn genereres av nailab. Ny fil hentes fra <basic-ref.qaf> eller <basic-bkg.qaf>
				qaanalyz <file.qaf> /REPORT=LAST	Bruker <basic-ref.qaf> eller <basic-bkg.qaf>

Detector skal ha channel size